## Table S2
Data Table S2. Unadjusted resource potential results (capacity in megawatts, MW) from resource assessment for states used in RESOLVE (used to make SI Fig. S4)
RESOLVE_Resource_Name | RESOLVE_Zone | Technology | State | Spatial contraint | SL1 | SL2 | SL3 | SL4
Northern_California_Solar | Northern California | Solar | California | State_wide | 532902.89 | 454684.45 | 182098.24 | 71442.24
Solano_Solar | Solano | Solar | California | State_wide | 165871.18 | 83650.14 | 31425.64 | 23451.32
Central_Valley_North_Los_Banos_Solar | Central Valley North Los Banos | Solar | California | State_wide | 144535.58 | 104759.64 | 34116.78 | 29232.83
Westlands_Solar | Westlands | Solar | California | State_wide | 590330.24 | 541223.96 | 210340.46 | 176442.73
Greater_Carrizo_Solar | Greater Carrizo | Solar | California | State_wide | 63718.52 | 52142.61 | 27170.45 | 12295.34
Tehachapi_Solar | Tehachapi | Solar | California | State_wide | 74086.98 | 59806.9 | 0 | 0
Kramer_Inyokern_Solar | Kramer Inyokern | Solar | California | State_wide | 73145.71 | 67167.72 | 11769.61 | 7720.96
Mountain_Pass_El_Dorado_Solar | Mountain Pass El Dorado | Solar | California | State_wide | 5437.04 | 3151.32 | 1036.87 | 0
Southern_California_Desert_Solar | Southern California Desert | Solar | California | State_wide | 33517.34 | 19533.5 | 7010.08 | 1411.45
Riverside_East_Palm_Springs_Solar | Riverside East Palm Springs | Solar | California | State_wide | 47094.53 | 37317.27 | 6657.84 | 2867.49
Greater_Imperial_Solar | Greater Imperial | Solar | California | State_wide | 108071.27 | 27016.36 | 11876.33 | 2251.53
Distributed_Solar | Distributed | Solar | California | State_wide
Baja_California_Solar | Baja California | Solar | N/A | State_wide
Utah_Solar | Utah | Solar | Utah | State_wide | 848995.78 | 421696.81 | 191260.39 | 114424.86
Southern_Nevada_Solar | Southern Nevada | Solar | Nevada | State_wide | 870719.85 | 669346.22 | 278816.83 | 75732.1
Arizona_Solar | Arizona | Solar | Arizona | State_wide | 3756340.53 | 1314924.85 | 644505.57 | 232962.27
New_Mexico_Solar | New Mexico | Solar | New Mexico | State_wide | 4643188.02 | 3163941.11 | 1369059.74 | 519524.81
Northern_California_Wind | Northern California | Wind | California | State_wide | 13309.82 | 10520.23 | 5050.45 | 1269.16
Solano_Wind | Solano | Wind | California | State_wide | 1898.17 | 54.27 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Central Valley North Los Banos | Wind | California | State_wide | 492.51 | 440.81 | 0 | 0
Greater_Carrizo_Wind | Greater Carrizo | Wind | California | State_wide | 520.09 | 306.71 | 170.88 | 30.32
Tehachapi_Wind | Tehachapi | Wind | California | State_wide | 3540.94 | 1689.88 | 0 | 0
Kramer_Inyokern_Wind | Kramer Inyokern | Wind | California | State_wide | 2113.02 | 1635.82 | 464.71 | 207.99
Southern_California_Desert_Wind | Southern California Desert | Wind | California | State_wide | 700.19 | 445.73 | 24.37 | 9.53
Riverside_East_Palm_Springs_Wind | Riverside East Palm Springs | Wind | California | State_wide | 303.09 | 0 | 0 | 0
Greater_Imperial_Wind | Greater Imperial | Wind | California | State_wide | 1258.94 | 268.15 | 30 | 0
Distributed_Wind | Distributed | Wind | California | State_wide
Baja_California_Wind | Baja California | Wind | N/A | State_wide
Pacific_Northwest_Wind | Pacific Northwest | Wind | Pacific Northwest | State_wide | 107987.52 | 69068.49 | 17836.4 | 8839.41
NW_Ext_Tx_Wind | Northwest Existing Tx | Wind | Pacific Northwest | State_wide
Idaho_Wind | Idaho | Wind | Idaho | State_wide | 39176.59 | 18916.83 | 9350.93 | 3275.19
Utah_Wind | Utah | Wind | Utah | State_wide | 45219.26 | 13612.06 | 6522.87 | 1452.98
Wyoming_Wind | Wyoming | Wind | Wyoming | State_wide | 218072.98 | 64495.02 | 10173.19 | 1458.82
Southern_Nevada_Wind | Southern Nevada | Wind | Nevada | State_wide | 49077.03 | 28284.56 | 10878.67 | 1917.28
Arizona_Wind | Arizona | Wind | Arizona | State_wide | 76425.77 | 26392.85 | 10729.47 | 2420.14
New_Mexico_Wind | New Mexico | Wind | New Mexico | State_wide | 189903.87 | 92566.7 | 23763.72 | 5927.48
SW_Ext_Tx_Wind | Southwest Existing Tx | Wind | New Mexico | State_wide
InState_Biomass | California | Biomass | California | State_wide
Greater_Imperial_Geothermal | Greater Imperial | Geothermal | California | State_wide | 0 | 0 | 0 | 0
Northern_California_Geothermal | Northern California | Geothermal | California | State_wide | 246.6 | 6.6 | 0 | 0
Pacific_Northwest_Geothermal | Pacific Northwest | Geothermal | Pacific Northwest | State_wide | 422 | 210 | 16 | 0
Southern_Nevada_Geothermal | Southern Nevada | Geothermal | Nevada | State_wide | 584 | 464 | 96 | 40
Northern_California_Solar | Northern California | Solar | California | Within_QRAs | 532902.89 | 454684.45 | 182098.24 | 71442.24
Solano_Solar | Solano | Solar | California | Within_QRAs | 165871.18 | 83650.14 | 31425.64 | 23451.32
Central_Valley_North_Los_Banos_Solar | Central Valley North Los Banos | Solar | California | Within_QRAs | 144535.58 | 104759.64 | 34116.78 | 29232.83
Westlands_Solar | Westlands | Solar | California | Within_QRAs | 590330.24 | 541223.96 | 210340.46 | 176442.73
Greater_Carrizo_Solar | Greater Carrizo | Solar | California | Within_QRAs | 63718.52 | 52142.61 | 27170.45 | 12295.34
Tehachapi_Solar | Tehachapi | Solar | California | Within_QRAs | 74086.98 | 59806.9 | 0 | 0
Kramer_Inyokern_Solar | Kramer Inyokern | Solar | California | Within_QRAs | 73145.71 | 67167.72 | 11769.61 | 7720.96
Mountain_Pass_El_Dorado_Solar | Mountain Pass El Dorado | Solar | California | Within_QRAs | 5437.04 | 3151.32 | 1036.87 | 0
Southern_California_Desert_Solar | Southern California Desert | Solar | California | Within_QRAs | 33517.34 | 19533.5 | 7010.08 | 1411.45
Riverside_East_Palm_Springs_Solar | Riverside East Palm Springs | Solar | California | Within_QRAs | 47094.53 | 37317.27 | 6657.84 | 2867.49
Greater_Imperial_Solar | Greater Imperial | Solar | California | Within_QRAs | 108071.27 | 27016.36 | 11876.33 | 2251.53
Distributed_Solar | Distributed | Solar | California | Within_QRAs
Baja_California_Solar | Baja California | Solar | N/A | Within_QRAs
Utah_Solar | Utah | Solar | Utah | Within_QRAs | 137930.15 | 74808.32 | 54872.42 | 22272.73
Southern_Nevada_Solar | Southern Nevada | Solar | Nevada | Within_QRAs | 102837.74 | 89370.74 | 38169.27 | 6570.5
Arizona_Solar | Arizona | Solar | Arizona | Within_QRAs | 339342.56 | 184175.43 | 119823.93 | 45422.93
New_Mexico_Solar | New Mexico | Solar | New Mexico | Within_QRAs | 308441.67 | 264673.19 | 81307.56 | 13773.74
Northern_California_Wind | Northern California | Wind | California | Within_QRAs | 13309.82 | 10520.23 | 5050.45 | 1269.16
Solano_Wind | Solano | Wind | California | Within_QRAs | 1898.17 | 54.27 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Central Valley North Los Banos | Wind | California | Within_QRAs | 492.51 | 440.81 | 0 | 0
Greater_Carrizo_Wind | Greater Carrizo | Wind | California | Within_QRAs | 520.09 | 306.71 | 170.88 | 30.32
Tehachapi_Wind | Tehachapi | Wind | California | Within_QRAs | 3540.94 | 1689.88 | 0 | 0
Kramer_Inyokern_Wind | Kramer Inyokern | Wind | California | Within_QRAs | 2113.02 | 1635.82 | 464.71 | 207.99
Southern_California_Desert_Wind | Southern California Desert | Wind | California | Within_QRAs | 700.19 | 445.73 | 24.37 | 9.53
Riverside_East_Palm_Springs_Wind | Riverside East Palm Springs | Wind | California | Within_QRAs | 303.09 | 0 | 0 | 0
Greater_Imperial_Wind | Greater Imperial | Wind | California | Within_QRAs | 1258.94 | 268.15 | 30 | 0
Distributed_Wind | Distributed | Wind | California | Within_QRAs
Baja_California_Wind | Baja California | Wind | N/A | Within_QRAs
Pacific_Northwest_Wind | Pacific Northwest | Wind | Pacific Northwest | Within_QRAs | 31145.83 | 21143.24 | 6578.74 | 4147.27
NW_Ext_Tx_Wind | Northwest Existing Tx | Wind | Pacific Northwest | Within_QRAs
Idaho_Wind | Idaho | Wind | Idaho | Within_QRAs | 10717.98 | 4059.31 | 2068.14 | 1006.9
Utah_Wind | Utah | Wind | Utah | Within_QRAs | 7553.26 | 1332.11 | 859.43 | 119.97
Wyoming_Wind | Wyoming | Wind | Wyoming | Within_QRAs | 70368.5 | 28310.6 | 4590.74 | 601.83
Southern_Nevada_Wind | Southern Nevada | Wind | Nevada | Within_QRAs | 809.81 | 751.51 | 330.09 | 0
Arizona_Wind | Arizona | Wind | Arizona | Within_QRAs | 5967.35 | 1689.76 | 689.96 | 176.7
New_Mexico_Wind | New Mexico | Wind | New Mexico | Within_QRAs | 36109.69 | 23926.56 | 4225.43 | 1069.29
SW_Ext_Tx_Wind | Southwest Existing Tx | Wind | New Mexico | Within_QRAs
InState_Biomass | California | Biomass | California | Within_QRAs
Greater_Imperial_Geothermal | Greater Imperial | Geothermal | California | Within_QRAs | 0 | 0 | 0 | 0
Northern_California_Geothermal | Northern California | Geothermal | California | Within_QRAs | 246.6 | 6.6 | 0 | 0
Pacific_Northwest_Geothermal | Pacific Northwest | Geothermal | Pacific Northwest | Within_QRAs | 598 | 146 | 0 | 0
Southern_Nevada_Geothermal | Southern Nevada | Geothermal | Nevada | Within_QRAs | 256 | 208 | 48 | 16

## Table S3
Data Table S3. Adjusted resource potential results (capacity in megawatts, MW) from resource assessment for states used in RESOLVE, supply curve inputs for RESOLVE modeling (used to make SI Fig. S3).
RESOLVE Resource Name | RESOLVE_Zone | Technology | State | Constrained vs. Unconstrained | Base | SL1 | SL2 | SL3 | SL4
Northern_California_Solar | Northern California | Solar | California | Constrained | 78817 | 78817 | 78817 | 78817 | 71331
Solano_Solar | Solano | Solar | California | Constrained | 14914 | 14914 | 14914 | 14914 | 14914
Central_Valley_North_Los_Banos_Solar | Central Valley North Los Banos | Solar | California | Constrained | 5056 | 5056 | 5056 | 5056 | 5056
Westlands_Solar | Westlands | Solar | California | Constrained | 28088 | 28088 | 28088 | 28088 | 28088
Greater_Carrizo_Solar | Greater Carrizo | Solar | California | Constrained | 15237 | 15237 | 15237 | 15237 | 12313
Tehachapi_Solar | Tehachapi | Solar | California | Constrained | 4318 | 4318 | 4318 | 0 | 0
Kramer_Inyokern_Solar | Kramer Inyokern | Solar | California | Constrained | 17337 | 17337 | 17337 | 11749 | 7705
Mountain_Pass_El_Dorado_Solar | Mountain Pass El Dorado | Solar | California | Constrained | 248 | 248 | 248 | 248 | 0
Southern_California_Desert_Solar | Southern California Desert | Solar | California | Constrained | 15448 | 15448 | 15448 | 6878 | 1376
Riverside_East_Palm_Springs_Solar | Riverside East Palm Springs | Solar | California | Constrained | 14310 | 14310 | 14310 | 6690 | 2882
Greater_Imperial_Solar | Greater Imperial | Solar | California | Constrained | 36553 | 36553 | 27063 | 11928 | 2268
Distributed_Solar | Distributed | Solar | California | Constrained | 36749 | 36749 | 36749 | 36749 | 36749
Baja_California_Solar | Baja California | Solar | N/A | Constrained | 39953 | 39953 | 39953 | 39953 | 39953
Utah_Solar | Utah | Solar | Utah | Constrained | 15000 | 15000 | 15000 | 15000 | 15000
Southern_Nevada_Solar | Southern Nevada | Solar | Nevada | Constrained | 15000 | 15000 | 15000 | 15000 | 6595
Arizona_Solar | Arizona | Solar | Arizona | Constrained | 15000 | 15000 | 15000 | 15000 | 15000
New_Mexico_Solar | New Mexico | Solar | New Mexico | Constrained | 664 | 664 | 664 | 664 | 664
Northern_California_Wind | Northern California | Wind | California | Constrained | 5165 | 5165 | 5165 | 5165 | 1278
Solano_Wind | Solano | Wind | California | Constrained | 643 | 643 | 58 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Central Valley North Los Banos | Wind | California | Constrained | 146 | 146 | 146 | 0 | 0
Greater_Carrizo_Wind | Greater Carrizo | Wind | California | Constrained | 1094 | 520 | 274 | 157 | 34
Tehachapi_Wind | Tehachapi | Wind | California | Constrained | 416 | 416 | 416 | 0 | 0
Kramer_Inyokern_Wind | Kramer Inyokern | Wind | California | Constrained | 0 | 0 | 0 | 0 | 0
Southern_California_Desert_Wind | Southern California Desert | Wind | California | Constrained | 0 | 0 | 0 | 0 | 0
Riverside_East_Palm_Springs_Wind | Riverside East Palm Springs | Wind | California | Constrained | 42 | 42 | 0 | 0 | 0
Greater_Imperial_Wind | Greater Imperial | Wind | California | Constrained | 0 | 0 | 0 | 0 | 0
Distributed_Wind | Distributed | Wind | California | Constrained | 253 | 253 | 253 | 253 | 253
Baja_California_Wind | Baja California | Wind | N/A | Constrained | 1117 | 1117 | 1117 | 1117 | 1117
Pacific_Northwest_Wind | Pacific Northwest | Wind | Pacific Northwest | Constrained | 11072 | 11072 | 11072 | 7051 | 4468
NW_Ext_Tx_Wind | Northwest Existing Tx | Wind | Pacific Northwest | Constrained | 1500 | 1500 | 1500 | 1500 | 1500
Idaho_Wind | Idaho | Wind | Idaho | Constrained | 6870 | 6870 | 4060 | 2068 | 1007
Utah_Wind | Utah | Wind | Utah | Constrained | 5032 | 5032 | 1342 | 872 | 114
Wyoming_Wind | Wyoming | Wind | Wyoming | Constrained | 33816 | 33816 | 28633 | 4565 | 535
Southern_Nevada_Wind | Southern Nevada | Wind | Nevada | Constrained | 441 | 441 | 441 | 326 | 0
Arizona_Wind | Arizona | Wind | Arizona | Constrained | 2897 | 2897 | 1691 | 677 | 170
New_Mexico_Wind | New Mexico | Wind | New Mexico | Constrained | 34580 | 34580 | 24209 | 4408 | 1153
SW_Ext_Tx_Wind | Southwest Existing Tx | Wind | New Mexico | Constrained | 500 | 500 | 500 | 500 | 500
InState_Biomass | California | Biomass | California | Constrained | 1106 | 1106 | 1106 | 1106 | 1106
Greater_Imperial_Geothermal | Greater Imperial | Geothermal | California | Constrained | 1219 | 0 | 0 | 0 | 0
Northern_California_Geothermal | Northern California | Geothermal | California | Constrained | 339 | 197 | 5 | 0 | 0
Pacific_Northwest_Geothermal | Pacific Northwest | Geothermal | Pacific Northwest | Constrained | 702 | 504 | 123 | 0 | 0
Southern_Nevada_Geothermal | Southern Nevada | Geothermal | Nevada | Constrained | 256 | 205 | 166 | 38 | 13
Northern_California_Solar | Northern California | Solar | California | Unconstrained | NA | 534404 | 455769 | 182558 | 71331
Solano_Solar | Solano | Solar | California | Unconstrained | NA | 165848 | 83693 | 31390 | 23451
Central_Valley_North_Los_Banos_Solar | Central Valley North Los Banos | Solar | California | Unconstrained | NA | 144531 | 104996 | 34033 | 29158
Westlands_Solar | Westlands | Solar | California | Unconstrained | NA | 588998 | 540269 | 209526 | 175141
Greater_Carrizo_Solar | Greater Carrizo | Solar | California | Unconstrained | NA | 63788 | 52273 | 27265 | 12313
Tehachapi_Solar | Tehachapi | Solar | California | Unconstrained | NA | 74531 | 60121 | 0 | 0
Kramer_Inyokern_Solar | Kramer Inyokern | Solar | California | Unconstrained | NA | 73021 | 67063 | 11749 | 7705
Mountain_Pass_El_Dorado_Solar | Mountain Pass El Dorado | Solar | California | Unconstrained | NA | 5444 | 3158 | 1043 | 0
Southern_California_Desert_Solar | Southern California Desert | Solar | California | Unconstrained | NA | 33190 | 19465 | 6878 | 1376
Riverside_East_Palm_Springs_Solar | Riverside East Palm Springs | Solar | California | Unconstrained | NA | 47000 | 37242 | 6690 | 2882
Greater_Imperial_Solar | Greater Imperial | Solar | California | Unconstrained | NA | 108015 | 27063 | 11928 | 2268
Distributed_Solar | Distributed | Solar | California | Unconstrained | NA | 36749 | 36749 | 36749 | 36749
Baja_California_Solar | Baja California | Solar | N/A | Unconstrained | NA | 39953 | 39953 | 39953 | 39953
Utah_Solar | Utah | Solar | Utah | Unconstrained | NA | 850119 | 414605 | 192505 | 114267
Southern_Nevada_Solar | Southern Nevada | Solar | Nevada | Unconstrained | NA | 870720 | 668839 | 276552 | 74544
Arizona_Solar | Arizona | Solar | Arizona | Unconstrained | NA | 3761199 | 1318592 | 646787 | 234101
New_Mexico_Solar | New Mexico | Solar | New Mexico | Unconstrained | NA | 4645810 | 3162546 | 1374062 | 519548
Northern_California_Wind | Northern California | Wind | California | Unconstrained | NA | 13291 | 10490 | 5318 | 1278
Solano_Wind | Solano | Wind | California | Unconstrained | NA | 1898 | 58 | 0 | 0
Central_Valley_North_Los_Banos_Wind | Central Valley North Los Banos | Wind | California | Unconstrained | NA | 492 | 424 | 0 | 0
Greater_Carrizo_Wind | Greater Carrizo | Wind | California | Unconstrained | NA | 520 | 274 | 157 | 34
Tehachapi_Wind | Tehachapi | Wind | California | Unconstrained | NA | 3621 | 1705 | 0 | 0
Kramer_Inyokern_Wind | Kramer Inyokern | Wind | California | Unconstrained | NA | 2030 | 1567 | 409 | 190
Southern_California_Desert_Wind | Southern California Desert | Wind | California | Unconstrained | NA | 758 | 485 | 29 | 11
Riverside_East_Palm_Springs_Wind | Riverside East Palm Springs | Wind | California | Unconstrained | NA | 303 | 0 | 0 | 0
Greater_Imperial_Wind | Greater Imperial | Wind | California | Unconstrained | NA | 1384 | 295 | 35 | 0
Distributed_Wind | Distributed | Wind | California | Unconstrained | NA | 253 | 253 | 253 | 253
Baja_California_Wind | Baja California | Wind | N/A | Unconstrained | NA | 1117 | 1117 | 1117 | 1117
Pacific_Northwest_Wind | Pacific Northwest | Wind | Pacific Northwest | Unconstrained | NA | 107988 | 70689 | 19911 | 10330
NW_Ext_Tx_Wind | Northwest Existing Tx | Wind | Pacific Northwest | Unconstrained | NA | 1500 | 1500 | 1500 | 1500
Idaho_Wind | Idaho | Wind | Idaho | Unconstrained | NA | 39182 | 18965 | 9144 | 3585
Utah_Wind | Utah | Wind | Utah | Unconstrained | NA | 45214 | 14281 | 6718 | 1402
Wyoming_Wind | Wyoming | Wind | Wyoming | Unconstrained | NA | 217775 | 65209 | 10100 | 1390
Southern_Nevada_Wind | Southern Nevada | Wind | Nevada | Unconstrained | NA | 48956 | 26778 | 10077 | 1607
Arizona_Wind | Arizona | Wind | Arizona | Unconstrained | NA | 76344 | 27156 | 10676 | 2284
New_Mexico_Wind | New Mexico | Wind | New Mexico | Unconstrained | NA | 189904 | 94408 | 24388 | 6282
SW_Ext_Tx_Wind | Southwest Existing Tx | Wind | New Mexico | Unconstrained | NA | 500 | 500 | 500 | 500
InState_Biomass | California | Biomass | California | Unconstrained | NA | 1106 | 1106 | 1106 | 1106
Greater_Imperial_Geothermal | Greater Imperial | Geothermal | California | Unconstrained | NA | 0 | 0 | 0 | 0
Northern_California_Geothermal | Northern California | Geothermal | California | Unconstrained | NA | 197 | 5 | 0 | 0
Pacific_Northwest_Geothermal | Pacific Northwest | Geothermal | Pacific Northwest | Unconstrained | NA | 356 | 177 | 13 | 0
Southern_Nevada_Geothermal | Southern Nevada | Geothermal | Nevada | Unconstrained | NA | 467 | 371 | 77 | 32